## Sheet1
Fault 2021-11-02 15:30:21
| Fault Number | Building Trade | Trade Category | Type of Fault | Impact | Location | Cancel Status | Reported Date | Fault Acknowledged Date | Responded on Site Date | RA Conducted Date | Work Started Date | Work Completed Date | Other Trades Required Date | Cost Cap Exceed Date | Assistance Requested Date | Fault Reference | End User Priority | Incident Report | Remarks
| FID3390 | Electrical | Cable and Trunking | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-A |  | 2021-10-31 09:45:05 | 2021-10-31 09:48:48 | 2021-10-31 09:49:08 | 2021-10-31 09:49:21 | 2021-10-31 09:49:37 | 2021-10-31 14:29:59 |  |  |  |  | 1 |  | POWER SHUTDOWN
| FID3381 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-30 11:18:23 | 2021-10-30 11:20:33 | 2021-10-30 11:21:19 | 2021-10-30 11:22:01 | 2021-10-30 11:22:24 | 2021-10-30 11:27:01 |  |  |  |  | 2 |  | 1 no exit light blown 10D corridor
| FID3379 | Plumbing & Sanitary | Bottle Trap | Other: Bottles trap servicing | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-30 09:48:26 | 2021-10-30 09:51:29 | 2021-10-30 09:52:00 | 2021-10-30 09:52:39 | 2021-10-30 09:53:21 | 2021-10-30 10:00:38 |  |  |  |  | 2 |  | Bottles trap servicing
| FID3369 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-29 14:58:53 | 2021-10-29 15:20:17 | 2021-10-29 15:20:41 | 2021-10-29 15:21:12 | 2021-10-29 15:21:32 | 2021-10-29 15:27:42 |  |  |  |  | 2 |  | 1no PLC bulb blown basement C canteen pillar 3A
| FID3366 | Building | Door Frame | Misaligned / dangling | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-29 13:03:36 | 2021-10-29 13:07:14 | 2021-10-29 13:32:06 | 2021-10-29 13:32:47 | 2021-10-29 13:35:33 | 2021-10-29 13:42:57 |  |  |  |  | 2 |  | Metal door came out stall 8 base C canteen
| FID3362-1 | Building | Ceiling Board Access Panel | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-A |  | 2021-10-29 11:56:40 | 2021-10-29 12:08:34 | 2021-10-29 16:38:50 | 2021-10-29 16:40:50 | 2021-10-29 16:41:20 | 2021-10-30 10:18:09 |  |  |  | FID3362 | 2 |  | 100000346761
| FID3362 | Building | Ceiling Board Access Panel | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-A |  | 2021-10-29 11:50:18 | 2021-10-29 16:42:02 | 2021-10-29 16:42:28 | 2021-10-29 16:42:46 | 2021-10-29 16:43:10 | 2021-10-30 10:18:54 |  |  |  |  | 2
| FID3361 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-29 11:34:07 | 2021-10-29 11:34:34 | 2021-10-29 11:46:04 | 2021-10-29 11:46:28 | 2021-10-29 11:46:57 | 2021-10-29 12:02:10 |  |  |  |  | 2
| FID3358 | Mechanical | Mechanical Ventilation | Other: VENTILATION FAN NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-D |  | 2021-10-29 09:34:42 | 2021-10-29 10:30:00 | 2021-10-29 10:03:01 | 2021-10-29 10:03:25 | 2021-10-29 10:03:47 | 2021-10-29 10:33:04 |  |  |  |  | 2
| FID3356 | Mechanical | Water Cooler | Other: WATER COOLER NOT COLD | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-D |  | 2021-10-29 09:16:58 | 2021-10-29 09:24:04 | 2021-10-29 09:55:30 | 2021-10-29 09:56:15 | 2021-10-29 09:57:06 | 2021-10-29 10:02:03 |  |  |  |  | 2
| FID3354 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-29 08:56:24 | 2021-10-29 08:57:05 | 2021-10-29 09:36:34 | 2021-10-29 09:37:49 | 2021-10-29 09:38:51 | 2021-10-29 09:43:40 |  |  |  |  | 2
| FID3353 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-D |  | 2021-10-29 08:48:52 | 2021-10-29 08:49:25 | 2021-10-29 08:50:23 | 2021-10-29 08:51:16 | 2021-10-29 08:52:05 | 2021-10-29 09:21:21 |  |  |  |  | 1
| FID3350 | Mechanical | Smoke Detector | System Shows fault / Error code | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-D |  | 2021-10-28 23:19:01 | 2021-10-28 23:24:53 | 2021-10-28 23:25:30 | 2021-10-28 23:27:10 | 2021-10-28 23:27:49 | 2021-10-29 10:52:11 |  |  |  |  | 1 |  | FIRE ALARM ACTIVATED
| FID3349 | Building | Wall | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C |  | 2021-10-28 21:59:35 | 2021-10-28 22:03:25 | 2021-10-28 22:03:45 | 2021-10-28 22:04:03 | 2021-10-28 22:04:30 | [5 empty] | 1 |  | REQ TO REPAINT
| FID3348 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-28 17:06:19 | 2021-10-28 17:06:54 | 2021-10-28 17:23:34 | 2021-10-28 17:24:10 | 2021-10-28 17:29:23 | 2021-10-28 17:30:33 |  |  |  |  | 1
| FID3346 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-FF |  | 2021-10-28 15:20:38 | 2021-10-28 15:21:33 | 2021-10-28 15:23:36 | 2021-10-28 15:33:01 | 2021-10-28 15:33:28 | 2021-10-28 15:39:12 |  |  |  |  | 2
| FID3343 | Office and Furniture | Cabinet | Other: CUPBOARD HINGES CAME OFF | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-28 12:04:02 | 2021-10-28 12:06:51 | 2021-10-28 13:39:02 | 2021-10-28 13:39:25 | 2021-10-28 13:40:17 | 2021-10-28 13:42:03 |  |  |  |  | 2 |  | USER REQ TO COME AFTER 1245HRS .
| FID3340 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-D |  | 2021-10-28 09:44:33 | 2021-10-28 09:45:07 | 2021-10-28 09:52:51 | 2021-10-28 09:53:18 | 2021-10-28 09:53:52 | 2021-10-28 10:00:35 |  |  |  |  | 1
| FID3337 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-28 08:57:28 | 2021-10-28 09:03:28 | 2021-10-28 09:05:36 | 2021-10-28 09:05:57 | 2021-10-28 09:28:48 | 2021-10-28 09:31:46 |  |  |  |  | 2
| FID3336 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-C |  | 2021-10-28 08:54:43 | 2021-10-28 08:55:10 | 2021-10-28 08:56:41 | 2021-10-28 08:57:02 | 2021-10-28 08:57:37 | 2021-10-28 09:00:07 |  |  |  |  | 2
| FID3335 | Plumbing & Sanitary | Basin / sink | Water flowing non-stop | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-28 02:39:29 | 2021-10-28 02:46:14 | 2021-10-28 02:46:35 | 2021-10-28 02:46:49 | 2021-10-28 02:47:07 | 2021-10-28 07:47:47 |  |  |  |  | 2 |  | WASH BASIN TAP WATER NON STOP
| FID3328 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-27 15:11:28 | 2021-10-27 15:14:17 | 2021-10-27 15:16:15 | 2021-10-27 15:18:01 | 2021-10-27 15:26:23 | 2021-10-27 15:28:10 |  |  |  |  | 2
| FID3327 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-27 15:06:46 | 2021-10-27 15:07:22 | 2021-10-27 15:35:15 | 2021-10-27 15:35:31 | 2021-10-27 15:36:56 | 2021-10-27 15:37:56 |  |  |  |  | 2
| FID3324 | Mechanical | Hot Water Urn | Other: HOT WATER URN NOT HOT | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-D |  | 2021-10-27 14:26:18 | 2021-10-27 15:38:55 | 2021-10-27 15:39:22 | 2021-10-27 15:39:49 | 2021-10-27 15:40:13 | 2021-10-27 15:47:51 |  |  |  |  | 2
| FID3323 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-E |  | 2021-10-27 13:34:59 | 2021-10-27 13:50:15 | 2021-10-27 13:50:43 | 2021-10-27 13:50:53 | 2021-10-27 13:51:14 | 2021-10-27 13:58:49 |  |  |  |  | 2
| FID3322 | Plumbing & Sanitary | Urinal | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-D |  | 2021-10-27 13:33:26 | 2021-10-27 13:40:17 | 2021-10-27 13:41:42 | 2021-10-27 13:42:15 | 2021-10-27 13:43:14 | 2021-10-27 14:17:24 |  |  |  |  | 1
| FID3316 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-27 12:15:20 | 2021-10-27 13:15:30 | 2021-10-27 13:15:58 | 2021-10-27 13:16:37 | 2021-10-27 13:17:10 | 2021-10-27 13:35:53 |  |  |  |  | 1
| FID3313-1 | Building | Window | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 1 |  | 2021-10-27 12:06:15 | 2021-10-27 12:33:02 | 2021-10-27 12:35:52 | 2021-10-27 12:36:54 | [5 empty] | FID3313 | 2 |  | CHECK ON SITE AND FOUND WINDOW FRAME PAINT PEELED OFF. INFORMED FIX-IT TO FOLLOW UP
| FID3312-1 | Building | Door Frame | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 1 |  | 2021-10-27 12:05:00 | 2021-10-27 12:39:28 | 2021-10-27 12:39:48 | [6 empty] | FID3312 | 2 |  | CHECK ON SITE FOUND DOOR FRAME PAINT PEELED OFF , INFORMED FIX-IT TEAM TK FOLLOW UP
| FID3313 | Building | Window | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 1 |  | 2021-10-27 11:41:12 | 2021-10-27 11:52:01 | 2021-10-27 11:52:25 | 2021-10-27 11:52:52 | 2021-10-27 11:56:05 | 2021-10-30 10:36:42 |  |  |  |  | 2
| FID3312 | Building | Door Frame | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 1 |  | 2021-10-27 11:38:20 | 2021-10-27 12:02:15 | 2021-10-27 12:02:34 | 2021-10-27 12:02:55 | 2021-10-27 12:03:15 | 2021-10-30 10:35:30 |  |  |  |  | 2
| FID3310 | Building | Door Lock | Other: DOOR LOCKSET LOOSE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 1 |  | 2021-10-27 11:29:22 | 2021-10-27 11:32:53 | 2021-10-27 11:56:58 | 2021-10-27 11:57:14 | 2021-10-27 11:57:56 | 2021-10-27 12:00:29 |  |  |  |  | 2
| FID3308-1 | Building | Door Lock | Other: CONTROL PANEL LOCK FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-27 11:16:52 | 2021-10-27 13:44:37 | 2021-10-27 13:44:58 | 2021-10-27 13:45:20 | 2021-10-27 13:45:34 | 2021-10-27 13:46:20 |  |  |  | FID3308 | 2
| FID3308 | Building | Door Lock | Other: CONTROL PANEL LOCK FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-27 11:09:39 | 2021-10-27 11:15:11 | 2021-10-28 14:37:38 | 2021-10-28 14:37:55 | 2021-10-30 10:28:22 | 2021-10-30 10:29:13 |  |  |  |  | 2
| FID3304-1 | Building | Ceiling | Chipped / Cracked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-27 10:17:47 | 2021-10-27 14:17:09 | [7 empty] | FID3304 | 2 |  | CHECKED ON SITE , CEILING CHIPPED OFF. INFORMED FIX-IT TEAM TO FOLLOW UP
| FID3305 | Building | Door Closer | Other: DOOR CUBICLE LOOSE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-C |  | 2021-10-27 09:48:33 | 2021-10-27 09:59:06 | 2021-10-27 10:04:23 | 2021-10-27 10:25:05 | 2021-10-27 10:30:25 | 2021-10-27 10:32:05 |  |  |  |  | 2
| FID3304 | Building | Ceiling | Chipped / Cracked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-27 09:35:38 | 2021-10-27 10:14:29 | 2021-10-27 10:14:58 | 2021-10-27 10:15:26 | 2021-10-27 10:17:06 | 2021-10-30 10:38:05 |  |  |  |  | 2
| FID3302 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-27 09:16:42 | 2021-10-27 09:28:42 | 2021-10-27 09:27:46 | 2021-10-27 10:10:40 | 2021-10-27 10:11:06 | 2021-10-27 10:13:18 |  |  |  |  | 1
| FID3301 | Plumbing & Sanitary | Bidet spray / Hose | Other: 3NOS FLEXIBLE HOSE FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-27 09:02:51 | 2021-10-27 09:06:28 | 2021-10-27 09:18:13 | 2021-10-27 09:19:01 | 2021-10-27 09:39:37 | 2021-10-27 10:01:10 |  |  |  |  | 2
| FID3300 | Building | Door Knob / Handle | Other: DOOR HANDLE LOOSE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-E |  | 2021-10-27 08:48:34 | 2021-10-27 08:50:24 | 2021-10-27 08:52:33 | 2021-10-27 08:54:12 | 2021-10-27 08:57:44 | 2021-10-27 08:59:14 |  |  |  |  | 2
| FID3299 | Office and Furniture | Chair | Cannot operate / defective | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-27 08:13:46 | 2021-10-27 08:22:08 | 2021-10-27 08:23:00 | 2021-10-27 08:29:17 | 2021-10-27 08:30:09 | [5 empty] | 2 |  | 1no canteen chair spoiled near pillar 7A/8A
| FID3298 | Building | Ceiling | Other: Rainy day inspection | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH |  | 2021-10-27 07:19:12 | 2021-10-27 07:29:40 | 2021-10-27 07:30:01 | 2021-10-27 07:30:11 | 2021-10-27 07:42:24 | 2021-10-27 10:16:32 |  |  |  |  | 1 |  | Rainy day inspection
| FID3297 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-E |  | 2021-10-27 01:11:57 | 2021-10-27 01:20:37 | 2021-10-27 01:21:58 | 2021-10-27 01:23:01 | 2021-10-27 01:24:17 | 2021-10-27 01:31:23 |  |  |  |  | 2 |  | 1no exit light blown
| FID3294 | Plumbing & Sanitary | Tap | Other: TAP HEAD CAME OFF | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-D |  | 2021-10-26 17:30:10 | 2021-10-26 17:33:47 | 2021-10-26 17:51:09 | 2021-10-26 17:51:50 | 2021-10-26 17:52:23 | 2021-10-26 17:53:38 |  |  |  |  | 2
| FID3293 | Mechanical | Barrier System | Other: ARM BARRIER CANNOT CLOSE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-26 17:23:11 | 2021-10-26 17:25:46 | 2021-10-26 17:26:25 | 2021-10-26 17:35:16 | 2021-10-26 17:35:47 | 2021-10-26 17:37:13 |  |  |  |  | 1
| FID3292 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-E |  | 2021-10-26 17:04:00 | 2021-10-26 17:04:29 | 2021-10-26 17:17:48 | 2021-10-26 17:18:21 | 2021-10-26 17:24:10 | 2021-10-26 17:29:17 |  |  |  |  | 2 |  | Light blown
| FID3289 | Pest Control | Pests/Bugs infestation | Other: FLY SPOTTED | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-26 16:53:46 | 2021-10-26 17:14:05 | 2021-10-26 17:15:09 | 2021-10-26 17:15:46 | 2021-10-26 17:16:45 | 2021-10-27 09:07:01 |  |  |  |  | 1
| FID3287 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-26 15:09:07 | 2021-10-26 15:12:05 | 2021-10-26 15:25:43 | 2021-10-26 15:26:08 | 2021-10-26 15:26:35 | 2021-10-26 15:27:09 |  |  |  |  | 1
| FID3286 | Mechanical | Air Handling Unit | Other: AIRCON REQUEST | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-C |  | 2021-10-26 13:56:05 | 2021-10-26 13:58:26 | 2021-10-26 13:59:27 | 2021-10-26 13:59:48 | 2021-10-26 14:00:07 | 2021-10-26 14:01:39 |  |  |  |  | 3
| FID3285 | Building | Door Closer | Misaligned / dangling | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-26 11:37:38 | 2021-10-26 11:40:52 | 2021-10-26 12:37:33 | 2021-10-26 12:38:50 | 2021-10-26 12:41:39 | 2021-10-26 12:43:12 |  |  |  |  | 2 |  | Door hinge came off
| FID3284 | Plumbing & Sanitary | WC / Squatting Pedestal | Other: TO REPLACE 41NOS W/CCOVER SEAT | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-26 11:36:24 | 2021-10-26 11:41:16 | 2021-10-26 13:27:42 | 2021-10-26 13:28:04 | 2021-10-26 13:28:50 | 2021-10-26 13:29:24 |  |  |  |  | 2
| FID3283 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-26 10:52:35 | 2021-10-26 10:58:51 | 2021-10-26 11:10:18 | 2021-10-26 11:11:18 | 2021-10-26 11:13:21 | 2021-10-26 11:19:04 |  |  |  |  | 2 |  | Light blown
| FID3281-1 | Mechanical | Hot Water Urn | Other: HOT WATER URN NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-C |  | 2021-10-26 10:25:05 | 2021-10-26 10:25:44 | [7 empty] | FID3281 | 2 |  | 100000335017 CHECK ON SITE WATER URN NOT WORKING DUE TO WATER NO AUTO TOPUP, NEED TO CHECK SOLENOID VALVE. TEMPORARILY PLACED SIGNAGE. INFORMED ACMV TEAM TO FOLLOW UP.
| FID3281 | Mechanical | Hot Water Urn | Other: HOT WATER URN NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-C |  | 2021-10-26 10:02:13 | 2021-10-26 10:02:34 | 2021-10-26 10:18:39 | 2021-10-26 10:18:58 | 2021-10-26 10:19:15 | 2021-10-30 10:39:50 |  |  |  |  | 2
| FID3279 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-26 09:29:06 | 2021-10-26 09:44:54 | 2021-10-26 10:10:39 | 2021-10-26 10:12:21 | 2021-10-26 10:13:55 | 2021-10-26 10:17:23 |  |  |  |  | 2
| FID3277 | Mechanical | Water Cooler | Other: WATER COOLER NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-26 08:45:49 | 2021-10-26 08:51:11 | 2021-10-26 10:08:19 | 2021-10-26 10:08:39 | 2021-10-26 10:08:58 | 2021-10-26 10:10:39 |  |  |  |  | 2
| FID3276 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-26 08:18:00 | 2021-10-26 08:23:57 | 2021-10-26 08:38:40 | 2021-10-26 08:38:49 | 2021-10-26 08:39:05 | 2021-10-26 08:40:23 |  |  |  |  | 2 |  | 5nos lights not light up Ops room
| FID3267 | Building | Door Lock | Other: DOOR LOCK FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-25 16:22:54 | 2021-10-25 16:37:34 | 2021-10-25 17:39:50 | 2021-10-25 17:59:05 | 2021-10-25 18:00:37 | 2021-10-25 18:04:05 |  |  |  |  | 2
| FID3265 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-B |  | 2021-10-25 14:36:24 | 2021-10-25 14:57:14 | 2021-10-25 15:08:14 | 2021-10-25 15:09:32 | 2021-10-25 15:11:00 | 2021-10-25 15:16:21 |  |  |  |  | 2
| FID3263-1 | Plumbing & Sanitary | Urinal | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-F |  | 2021-10-25 14:09:13 | 2021-10-30 10:41:56 | 2021-10-30 10:42:23 | 2021-10-30 10:43:38 | 2021-10-30 10:44:02 | 2021-10-30 10:44:51 |  |  |  | FID3263 | 1 |  | CHECK ON SITE UNABLE TO CLEAR THE CHOKE DUE TO WHITE PARTICLES. INFORMED FIX IT TEAM TO FOLLOW UP
| FID3263 | Plumbing & Sanitary | Urinal | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-F |  | 2021-10-25 12:12:59 | 2021-10-25 14:07:45 | 2021-10-25 13:15:13 | 2021-10-25 13:16:19 | 2021-10-25 13:17:25 | 2021-10-30 10:41:12 |  |  |  |  | 1
| FID3262 | Pest Control | Rats/Rodents Infestation | Other: INSPECTION OF RODENTS GLUEBOARD | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-25 11:43:32 | 2021-10-25 11:54:40 | 2021-10-25 11:55:21 | 2021-10-25 11:55:44 | 2021-10-25 11:56:41 | 2021-10-25 11:57:14 |  |  |  |  | 3
| FID3261 | Building | Ceiling | Other: RAINY DAY INSPECTION FOR LEAKING | Whole Building | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-25 11:36:48 | 2021-10-25 11:39:36 | 2021-10-30 10:46:15 | 2021-10-30 10:47:06 | 2021-10-30 10:47:31 | 2021-10-30 10:50:19 |  |  |  |  | 1
| FID3260 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-E |  | 2021-10-25 10:57:38 | 2021-10-25 11:00:37 | 2021-10-25 11:36:04 | 2021-10-25 12:32:23 | 2021-10-25 12:32:44 | 2021-10-25 12:33:33 |  |  |  |  | 1
| FID3251-1 | Building | Carpet | Other: TO INSTALL FLOOR CARPET | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C | approved | 2021-10-25 10:40:28 | [8 empty] | FID3251 | 2
| FID3253-1 | Building | Window | Dirty / Odour | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-B | approved | 2021-10-25 10:39:40 | [8 empty] | FID3253 | 2 |  | Window glass fungus
| FID3252-1 | Building | Ceiling Board Access Panel | Dirty / Odour | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A | approved | 2021-10-25 10:27:14 | [8 empty] | FID3252 | 2 |  | 100000341170
| FID3253 | Building | Window | Dirty / Odour | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-B |  | 2021-10-25 10:22:13 | 2021-10-30 11:00:49 | 2021-10-30 11:01:19 | 2021-10-30 11:02:32 | 2021-10-30 11:02:50 | 2021-10-30 11:03:14 |  |  |  |  | 2 |  | Window glass fungus
| FID3252 | Building | Ceiling Board Access Panel | Dirty / Odour | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-25 10:21:11 | 2021-10-30 10:57:40 | 2021-10-30 10:57:55 | 2021-10-30 10:58:11 | 2021-10-30 10:58:38 | 2021-10-30 10:59:54 |  |  |  |  | 2
| FID3251 | Building | Carpet | Other: TO INSTALL FLOOR CARPET | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C |  | 2021-10-25 10:19:39 | 2021-10-30 10:55:19 | 2021-10-30 10:55:34 | 2021-10-30 10:55:49 | 2021-10-30 10:56:05 | 2021-10-30 10:56:32 |  |  |  |  | 2
| FID3250 | Mechanical | Air Conditioning System | Leaking / Condensation | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-25 10:15:15 | 2021-10-25 10:43:42 | 2021-10-25 10:53:27 | 2021-10-25 10:55:01 | 2021-10-26 07:53:44 | 2021-10-26 07:57:38 |  |  |  |  | 2 |  | Aircon leaking
| FID3249 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-F |  | 2021-10-25 09:55:38 | 2021-10-25 09:58:50 | 2021-10-25 10:03:21 | 2021-10-25 10:03:49 | 2021-10-25 13:31:33 | 2021-10-25 13:36:46 |  |  |  |  | 1
| FID3248 | Plumbing & Sanitary | Basin / sink | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-25 09:38:18 | 2021-10-25 10:55:37 | 2021-10-25 10:56:10 | 2021-10-25 10:58:57 | 2021-10-25 10:59:25 | 2021-10-25 11:01:15 |  |  |  |  | 1
| FID3245 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-25 08:53:25 | 2021-10-25 08:57:27 | 2021-10-25 09:43:11 | 2021-10-25 09:43:42 | 2021-10-25 09:44:11 | 2021-10-25 09:46:04 |  |  |  |  | 1
| FID3244 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-A |  | 2021-10-25 08:11:01 | 2021-10-25 08:15:02 | 2021-10-25 08:15:41 | 2021-10-25 08:16:03 | 2021-10-25 08:18:37 | 2021-10-25 08:31:29 |  |  |  |  | 1 |  | 2A Airframe Workshop
| FID3241 | Mechanical | Fire Alarm / Detection System | System Shows fault / Error code | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-13 |  | 2021-10-24 10:54:53 | 2021-10-24 11:06:52 | 2021-10-24 11:07:07 | 2021-10-24 11:07:24 | 2021-10-24 11:07:42 | 2021-10-24 18:17:25 |  |  |  |  | 1
| FID3240 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-24 10:12:25 | 2021-10-24 10:27:38 | 2021-10-24 10:28:18 | 2021-10-24 10:30:12 | 2021-10-24 10:31:00 | 2021-10-24 10:37:56 |  |  |  |  | 2
| FID3239 | Plumbing & Sanitary | Urinal | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-24 08:08:48 | 2021-10-24 08:12:26 | 2021-10-24 08:13:13 | 2021-10-24 09:42:06 | 2021-10-24 09:42:35 | 2021-10-24 09:42:56 |  |  |  |  | 1 |  | Base D WC bowl choke near glass door.
| FID3237 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-24 07:23:34 | 2021-10-24 07:28:01 | 2021-10-24 07:28:19 | 2021-10-24 07:28:39 | 2021-10-24 07:29:23 | 2021-10-24 07:38:46 |  |  |  |  | 2 |  | Base C 1no PLC bulb blown pillars 2A
| FID3234 | Mechanical | Lift & Escalators | Unserviceable | WIthin Building | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-23 19:44:20 | 2021-10-23 19:47:23 | 2021-10-23 19:48:01 | 2021-10-23 19:48:49 | 2021-10-23 19:49:47 | 2021-10-23 21:51:43 |  |  |  |  | 1
| FID3230 | Building | TV | Other: test only | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-23 12:49:07 | 2021-10-23 12:49:55 | 2021-10-23 12:50:17 | 2021-10-23 12:50:37 | 2021-10-23 12:51:25 | 2021-10-23 12:51:58 |  |  |  |  | 5 |  | test only
| FID3229 | Plumbing & Sanitary | Basin / sink | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-23 12:01:13 | 2021-10-23 12:02:37 | 2021-10-23 12:03:16 | 2021-10-23 12:03:52 | 2021-10-23 12:04:41 | 2021-10-23 12:07:27 |  |  |  |  | 2
| FID3227 | Building | Ceiling Board Access Panel | Misaligned / dangling | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-C |  | 2021-10-23 11:05:56 | 2021-10-23 11:08:32 | 2021-10-23 11:09:18 | 2021-10-23 11:09:36 | 2021-10-23 11:12:40 | 2021-10-23 11:16:06 |  |  |  |  | 2
| FID3226 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-23 10:53:20 | 2021-10-23 10:56:16 | 2021-10-23 10:56:46 | 2021-10-23 10:57:12 | 2021-10-23 10:57:49 | 2021-10-23 11:00:41 |  |  |  |  | 2
| FID3224 | Mechanical | Dehumidifier | Airflow too strong / weak | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH |  | 2021-10-23 08:45:30 | 2021-10-23 08:50:15 | 2021-10-23 09:10:38 | 2021-10-23 09:43:26 | 2021-10-23 09:49:16 | 2021-10-23 10:42:45 |  |  |  |  | 2
| FID3221 | Mechanical | Barrier System | Other: ARM BARRIER PUSH BUTTON HOUSING CAME OFF CORE F ZONE 5 | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-FF |  | 2021-10-22 21:45:45 | 2021-10-22 22:06:49 | 2021-10-22 22:10:13 | 2021-10-22 22:14:57 | 2021-10-22 22:16:20 | 2021-10-22 22:22:53 | [6 empty] | ARM BARRIER PUSH BUTTON HOUSING CAME OFF CORE F ZONE 5
| FID3218 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-C |  | 2021-10-22 18:09:15 | 2021-10-22 18:20:04 | 2021-10-22 18:20:46 | 2021-10-22 18:21:10 | 2021-10-22 18:22:26 | 2021-10-22 18:25:00 |  |  |  |  | 2
| FID3207-1 | Office and Furniture | Cabinet | Cannot open / close | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-22 16:28:49 | 2021-10-30 10:26:16 | 2021-10-30 10:26:31 | 2021-10-30 10:26:46 | 2021-10-30 10:27:02 | 2021-10-30 10:27:41 |  |  |  | FID3207 | 2
| FID3213 | Mechanical | Air Handling Unit | Other: AIRCON REQUEST | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-C |  | 2021-10-22 15:25:53 | 2021-10-22 15:36:39 | 2021-10-22 15:36:57 | 2021-10-22 15:37:14 | 2021-10-22 15:37:36 | 2021-10-22 15:39:04 |  |  |  |  | 3
| FID3212 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-C |  | 2021-10-22 14:51:07 | 2021-10-22 15:27:05 | 2021-10-22 15:28:05 | 2021-10-22 15:28:32 | 2021-10-22 15:29:07 | 2021-10-22 15:35:49 |  |  |  |  | 2
| FID3211 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-22 14:44:07 | 2021-10-22 14:56:36 | 2021-10-22 14:57:00 | 2021-10-22 14:57:24 | 2021-10-22 14:57:31 | 2021-10-22 15:33:00 |  |  |  |  | 1
| FID3210 | Electrical | Lighting Management System | Other: TO REPLACE ACTUATOR | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-C |  | 2021-10-22 14:30:04 | 2021-10-22 15:40:15 | 2021-10-22 15:40:52 | 2021-10-23 12:31:16 | 2021-10-23 12:31:36 | 2021-10-23 13:06:17 |  |  |  |  | 2
| FID3208 | Mechanical | Air Handling Unit | Too hot / Too cold | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-C | approved | 2021-10-22 13:45:55 | 2021-10-22 14:05:37 | [8 empty] | 2
| FID3207 | Office and Furniture | Cabinet | Cannot open / close | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-22 13:41:27 | 2021-10-22 15:41:39 | 2021-10-22 15:41:54 | 2021-10-22 16:26:45 | 2021-10-22 16:28:28 | 2021-10-30 10:25:25 |  |  |  |  | 2
| FID3205 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-B |  | 2021-10-22 13:22:10 | 2021-10-22 13:27:37 | 2021-10-22 15:42:34 | 2021-10-22 15:42:52 | 2021-10-22 15:43:15 | 2021-10-22 15:45:21 |  |  |  |  | 2
| FID3204 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-A |  | 2021-10-22 11:50:13 | 2021-10-22 11:55:56 | 2021-10-30 11:05:34 | 2021-10-30 11:05:52 | 2021-10-30 11:06:12 | 2021-10-30 11:06:35 |  |  |  |  | 2
| FID3203 | Mechanical | Roller Shutter | Other: ROLLER SHUTTER CANNOT CLOSE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-22 11:39:22 | 2021-10-22 15:46:18 | 2021-10-22 15:46:35 | [7 empty] | 2
| FID3202 | Plumbing & Sanitary | Basin / sink | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-22 11:03:23 | 2021-10-22 11:07:59 | 2021-10-22 11:08:40 | 2021-10-22 11:08:57 | 2021-10-22 11:09:14 | 2021-10-22 11:11:32 |  |  |  |  | 1
| FID3201 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-22 11:01:21 | 2021-10-22 11:06:21 | 2021-10-22 11:15:54 | 2021-10-22 11:16:12 | 2021-10-22 11:16:29 | 2021-10-22 11:17:48 |  |  |  |  | 2
| FID3200 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-F |  | 2021-10-22 11:00:52 | 2021-10-22 11:02:33 | 2021-10-22 11:19:27 | 2021-10-22 11:19:52 | 2021-10-22 11:20:42 | 2021-10-22 11:23:24 |  |  |  |  | 2
| FID3199 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-22 10:37:21 | 2021-10-22 10:39:22 | 2021-10-22 11:13:09 | 2021-10-22 11:13:23 | 2021-10-22 11:13:43 | 2021-10-22 11:14:46 |  |  |  |  | 2
| FID3197-1 | Building | Wall | Chipped / Cracked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-D |  | 2021-10-22 10:19:33 | 2021-10-22 15:47:19 | 2021-10-22 15:47:34 | [6 empty] | FID3197 | 2
| FID3197 | Building | Wall | Chipped / Cracked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-D |  | 2021-10-22 10:18:49 | 2021-10-22 11:34:17 | 2021-10-22 11:34:33 | 2021-10-22 11:34:55 | 2021-10-22 11:35:42 | [5 empty] | 2
| FID3196 | Plumbing & Sanitary | Basin / sink | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-22 09:57:40 | 2021-10-22 10:37:18 | 2021-10-22 10:40:54 | 2021-10-22 10:41:12 | 2021-10-22 10:42:15 | 2021-10-22 11:25:25 |  |  |  |  | 2
| FID3195 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-A |  | 2021-10-22 09:19:48 | 2021-10-22 09:25:52 | 2021-10-22 09:30:52 | 2021-10-22 09:31:07 | 2021-10-22 09:31:16 | 2021-10-22 09:33:47 |  |  |  |  | 2
| FID3194 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-D |  | 2021-10-22 09:15:58 | 2021-10-22 09:17:51 | 2021-10-22 09:35:31 | 2021-10-22 09:38:10 | 2021-10-22 09:39:51 | 2021-10-22 09:41:40 |  |  |  |  | 2
| FID3191 | Mechanical | Roller Shutter | Other: ROLLER SHUTTER CANNOT CLOSE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-21 17:24:42 | 2021-10-22 15:48:11 | 2021-10-22 15:48:54 | [7 empty] | 2
| FID3187-1 | Building | Ceiling Board Access Panel | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C |  | 2021-10-21 15:32:31 | 2021-10-21 16:35:38 | 2021-10-21 16:35:56 | 2021-10-21 16:36:53 | 2021-10-21 16:37:11 | 2021-10-21 16:39:15 |  |  |  | FID3187 | 2 |  | 1000000317040
| FID3187 | Building | Ceiling Board Access Panel | Paint peeling / stained | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C |  | 2021-10-21 15:24:10 | 2021-10-22 15:50:26 | 2021-10-22 15:50:43 | 2021-10-22 15:51:35 | 2021-10-22 15:53:44 | [5 empty] | 2
| FID3186 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-21 15:20:37 | 2021-10-21 16:35:36 | 2021-10-21 16:38:15 | 2021-10-21 16:38:50 | 2021-10-21 16:41:48 | 2021-10-21 16:42:44 |  |  |  |  | 1
| FID3185 | Electrical | Light Fitting | Other: 1NO LIGHT TUBE MISSING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-A |  | 2021-10-21 15:14:25 | [9 empty] | 2
| FID3183 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C |  | 2021-10-21 14:37:52 | 2021-10-21 15:11:04 | [8 empty] | 1
| FID3182 | Electrical | Exit light | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-21 14:29:39 | 2021-10-21 15:48:51 | 2021-10-21 15:56:32 | 2021-10-21 16:02:47 | 2021-10-21 16:06:01 | 2021-10-21 16:28:37 |  |  |  |  | 2
| FID3179 | Plumbing & Sanitary | Basin / sink | Other: BASIN TAP HEAD FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-21 13:52:31 | 2021-10-21 16:22:46 | 2021-10-21 16:23:01 | 2021-10-21 16:23:16 | 2021-10-21 16:23:27 | 2021-10-21 16:25:42 |  |  |  |  | 2
| FID3178 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-21 11:56:51 | 2021-10-21 13:42:03 | 2021-10-21 16:45:25 | 2021-10-21 16:45:40 | [6 empty] | 1
| FID3177 | Building | Projector | Other: PROJECTOR LAMP FLICKERING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-B |  | 2021-10-21 11:42:14 | 2021-10-22 11:31:15 | 2021-10-22 11:31:38 | 2021-10-22 11:32:04 | 2021-10-22 11:32:30 | 2021-10-22 11:34:08 |  |  |  |  | 1
| FID3172 | Electrical | Socket | Other: WALL SOCKET NO POWER SUPPLY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-B |  | 2021-10-21 10:21:51 | [9 empty] | 1
| FID3170 | Plumbing & Sanitary | Urinal | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-21 10:15:17 | 2021-10-21 10:18:40 | [8 empty] | 2
| FID3169 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-21 09:58:29 | 2021-10-21 10:33:51 | 2021-10-21 10:35:12 | 2021-10-21 10:35:50 | 2021-10-21 10:36:20 | 2021-10-21 10:43:01 |  |  |  |  | 1
| FID3168 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-21 09:49:35 | 2021-10-21 09:52:42 | [8 empty] | 1
| FID3165 | Mechanical | Water Cooler | Other: WATER COOLER NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-21 09:32:12 | 2021-10-21 10:08:30 | 2021-10-21 10:25:02 | 2021-10-21 10:26:21 | 2021-10-21 10:28:20 | 2021-10-21 12:07:57 |  |  |  |  | 2
| FID3164 | Building | Door Closer | Other: DOOR HARD TO OPEN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-21 09:17:41 | 2021-10-22 11:35:32 | 2021-10-22 11:35:58 | 2021-10-22 11:36:36 | 2021-10-22 11:36:52 | 2021-10-22 11:39:17 |  |  |  |  | 2
| FID3163 | Plumbing & Sanitary | Basin / sink | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-21 09:00:27 | 2021-10-21 09:12:14 | 2021-10-21 09:12:58 | 2021-10-21 09:13:46 | 2021-10-21 09:14:17 | 2021-10-21 09:16:35 |  |  |  |  | 1
| FID3162 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-D |  | 2021-10-21 08:51:55 | 2021-10-21 09:23:13 | [8 empty] | 2
| FID3145-1 | Mechanical | Dry Riser / Breeching Inlet | Other: DRY RISER HANDLE BROKEN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-B |  | 2021-10-20 15:14:50 | 2021-11-01 11:56:10 | 2021-11-01 11:56:31 | 2021-11-01 11:56:57 | 2021-11-01 11:58:09 | 2021-11-01 11:58:44 |  |  |  | FID3145 | 2 |  | 100000330376
| FID3148-1 | Mechanical | Roller Shutter | Other: CAME OFF | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-C |  | 2021-10-20 15:12:50 | [8 empty] | FID3148 | 1 |  | 100000330376
| FID3144-1 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-20 15:05:34 | [8 empty] | FID3144 | 1
| FID3151 | Building | Condition Assessment | Other: RAINING DAY INSPECTION | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-20 11:56:03 | 2021-10-20 14:17:15 | 2021-10-20 14:17:39 | 2021-10-20 14:18:27 | 2021-10-20 14:27:24 | 2021-10-20 14:28:50 |  |  |  |  | 1
| FID3150 | Plumbing & Sanitary | Urinal | No water | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-D |  | 2021-10-20 11:04:06 | 2021-10-20 14:29:19 | 2021-10-20 14:29:58 | 2021-10-20 14:30:17 | 2021-10-20 14:31:25 | 2021-10-20 14:34:12 |  |  |  |  | 2
| FID3149 | Mechanical | Passenger Lift | Other: LIGHT FLICKERING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-20 10:57:07 | 2021-10-20 11:11:12 | 2021-10-20 11:13:14 | 2021-10-20 11:14:42 | 2021-10-20 14:35:26 | 2021-10-20 14:36:41 |  |  |  |  | 1
| FID3148 | Mechanical | Roller Shutter | Other: CAME OFF | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-C |  | 2021-10-20 10:49:46 | 2021-10-20 11:07:48 | 2021-10-20 11:18:54 | 2021-10-20 11:21:55 | 2021-10-20 15:12:13 | [5 empty] | 1
| FID3147 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-B |  | 2021-10-20 10:45:27 | 2021-10-20 14:38:01 | 2021-10-20 14:38:24 | 2021-10-20 14:38:32 | 2021-10-20 14:39:32 | 2021-10-20 16:59:59 |  |  |  |  | 2
| FID3145 | Mechanical | Dry Riser / Breeching Inlet | Other: DRY RISER HANDLE BROKEN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-B |  | 2021-10-20 10:37:37 | 2021-10-20 14:52:27 | 2021-10-20 14:53:00 | 2021-10-20 14:53:38 | 2021-10-20 15:01:14 | [5 empty] | 2
| FID3144 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-20 10:30:09 | 2021-10-20 14:41:04 | 2021-10-20 14:41:33 | 2021-10-20 14:41:56 | 2021-10-20 15:01:11 | [5 empty] | 1
| FID3143 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-20 09:49:07 | 2021-10-20 14:42:44 | 2021-10-20 14:43:09 | 2021-10-20 14:43:53 | 2021-10-20 14:44:19 | 2021-10-20 14:46:35 |  |  |  |  | 1
| FID3142 | Mechanical | Air Handling Unit | Other: AIRCON SWITCH NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-B |  | 2021-10-20 09:32:48 | 2021-10-20 14:48:22 | 2021-10-20 14:49:10 | 2021-10-20 14:49:37 | 2021-10-20 15:05:47 | 2021-10-20 15:24:20 |  |  |  |  | 2
| FID3141 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-20 08:12:15 | 2021-10-20 08:21:16 | 2021-10-20 08:21:35 | [7 empty] | 2 |  | 1no PLC bulb brown
| FID3140 | Mechanical | Barrier System | Other: core B Arm barrier not working | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH |  | 2021-10-20 06:50:07 | 2021-10-20 07:00:15 | 2021-10-20 07:00:41 | [7 empty] | 1 |  | Core B arm barrier not wot
| FID3138 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-20 01:50:33 | 2021-10-20 01:51:06 | 2021-10-20 01:54:24 | 2021-10-20 01:54:45 | 2021-10-20 01:55:03 | 2021-10-20 01:56:31 |  |  |  |  | 2 |  | 1no 4ft tube blown
| FID3133-1 | Electrical | Earthing | Other: STATIC EARTH AUDIT | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-19 16:23:22 | [8 empty] | FID3133 | 2
| FID3133 | Electrical | Earthing | Other: STATIC EARTH AUDIT | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-19 16:22:58 | [9 empty] | 2
| FID3126 | Building | Door Closer | Unable to open or close properly | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-19 10:26:33 | 2021-10-19 11:27:46 | 2021-10-19 11:28:36 | 2021-10-19 11:30:18 | 2021-10-19 11:30:48 | 2021-10-19 11:33:03 |  |  |  |  | 2
| FID3125 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-E |  | 2021-10-19 09:42:58 | 2021-10-19 09:57:34 | 2021-10-19 09:57:50 | 2021-10-19 09:57:57 | 2021-10-19 09:58:11 | 2021-10-19 11:38:47 |  |  |  |  | 2
| FID3124 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-19 09:37:35 | 2021-10-19 09:43:30 | 2021-10-19 10:18:15 | 2021-10-19 10:18:31 | 2021-10-19 10:18:59 | 2021-10-19 10:23:43 |  |  |  |  | 2
| FID3121 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-18 16:43:08 | 2021-10-18 16:43:37 | 2021-10-18 16:50:10 | [7 empty] | 2
| FID3120 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-E |  | 2021-10-18 16:29:53 | 2021-10-18 16:51:23 | [8 empty] | 2 |  | 2nos 4ft tube blown
| FID3119 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-E |  | 2021-10-18 16:28:57 | 2021-10-18 16:41:19 | 2021-10-18 16:52:03 | [7 empty] | 2
| FID3118 | Pest Control | Rats/Rodents Infestation | Other: RAT SPOTTED | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-E |  | 2021-10-18 15:21:38 | [9 empty] | 1
| FID3116-1 | Building | Drain | Other: DRAIN MASH FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-18 15:03:05 | [8 empty] | FID3116 | 2
| FID3116 | Building | Drain | Other: DRAIN GRATING FAULTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-18 14:46:56 | [9 empty] | 2 |  | 100000344671
| FID3115 | Mechanical | Air Handling Unit | Other: AIRCON REQUEST EXTENSION | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-C |  | 2021-10-18 13:50:39 | 2021-10-18 13:54:25 | 2021-10-18 13:54:44 | 2021-10-18 13:54:58 | 2021-10-18 13:55:15 | 2021-10-18 13:57:09 |  |  |  |  | 3
| FID3114 | Plumbing & Sanitary | Water Pipe | Leaking | WIthin Building | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-D |  | 2021-10-18 13:02:37 | 2021-10-18 13:13:19 | 2021-10-18 13:13:48 | 2021-10-18 13:14:07 | [6 empty] | 2
| FID3113 | Building | Building Management System | Other: Chair spoil | WIthin Building | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-18 12:28:59 | 2021-10-18 12:29:41 | 2021-10-18 12:50:35 | 2021-10-18 12:51:00 | 2021-10-18 12:55:25 | [5 empty] | 2
| FID3093-1 | Mechanical | Air Handling Unit | Too hot / Too cold | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-C |  | 2021-10-18 10:25:50 | 2021-10-26 11:14:26 | 2021-10-26 11:14:45 | 2021-10-26 11:15:02 | 2021-10-26 11:15:20 | 2021-10-26 11:16:36 |  |  |  | FID3093 | 2
| FID3109-1 | Pest Control | Pests/Bugs infestation | Other: ANTS SPOTTED | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-18 10:23:08 | [8 empty] | FID3109 | 1
| FID3109 | Pest Control | Pests/Bugs infestation | Other: ANTS SPOTTED | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-18 10:09:11 | [9 empty] | 1
| FID3108 | Plumbing & Sanitary | Basin / sink | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > SB1 > 3 |  | 2021-10-18 09:41:00 | 2021-10-18 09:42:31 | 2021-10-18 09:56:44 | 2021-10-18 09:57:06 | 2021-10-18 09:57:32 | [5 empty] | 2
| FID3104 | Plumbing & Sanitary | Floor trap | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-18 09:15:39 | 2021-10-18 09:18:02 | [8 empty] | 1
| FID3102 | Mechanical | Fire Protection System | Leaking / Condensation | WIthin Building | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-17 21:29:03 | 2021-10-17 21:29:55 | [8 empty] | 1 |  | foam jockey pump 1 cut in basement C 1.340367
| FID3100 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-16 13:42:34 | 2021-10-16 13:50:43 | 2021-10-16 13:51:38 | 2021-10-16 13:53:38 | 2021-10-16 14:02:59 | 2021-10-16 14:08:30 |  |  |  |  | 1 |  | Power Trip 1A wheel shop
| FID3099 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-D |  | 2021-10-16 08:37:52 | 2021-10-16 08:38:32 | 2021-10-16 08:38:55 | 2021-10-16 08:39:16 | 2021-10-16 08:39:49 | 2021-10-16 08:43:58 |  |  |  |  | 1 |  | POWER TRIP 4D BOLLORE STORE
| FID3097 | Building | Door Lock | Unable to open or close properly | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-15 16:09:38 | 2021-10-15 17:05:41 | 2021-10-15 17:06:00 | 2021-10-15 17:06:24 | 2021-10-15 17:07:58 | [5 empty] | 2
| FID3096 | Mechanical | Air Handling Unit | Other: REQ AIRCON EXTENSION | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-C |  | 2021-10-15 15:53:13 | 2021-10-15 15:53:32 | 2021-10-15 16:01:19 | 2021-10-15 16:01:40 | 2021-10-15 16:02:11 | 2021-10-15 16:04:04 |  |  |  |  | 3
| FID3093 | Mechanical | Air Handling Unit | Too hot / Too cold | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-C |  | 2021-10-15 13:33:29 | 2021-10-15 16:05:20 | 2021-10-15 16:05:56 | 2021-10-15 16:06:20 | 2021-10-26 11:23:55 | [5 empty] | 2
| FID3092 | Mechanical | Exhaust System | Other: EXHAUST FAN NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-15 12:05:44 | 2021-10-30 10:21:39 | 2021-10-30 10:21:58 | 2021-10-30 10:22:16 | 2021-10-30 10:22:34 | 2021-10-30 10:22:57 |  |  |  |  | 2
| FID3089 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-E |  | 2021-10-15 11:06:21 | 2021-10-15 11:08:00 | 2021-10-15 11:11:17 | 2021-10-15 11:12:52 | 2021-10-15 11:13:31 | 2021-10-15 11:18:50 |  |  |  |  | 2
| FID3087-1 | Plumbing & Sanitary | Water Pipe | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-15 10:28:39 | [8 empty] | FID3087 | 2 |  | 100000341819
| FID3087 | Plumbing & Sanitary | Water Pipe | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-15 10:28:16 | [9 empty] | 2 |  | 100000341819
| FID3084-1 | Mechanical | Cargo or Goods Lift | Other: REPLACEMENT OF PARTS | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-15 09:57:34 | [8 empty] | FID3084 | 2 |  | 100000345177
| FID3084 | Mechanical | Cargo or Goods Lift | Other: REPLACEMENT OF PARTS | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-15 09:57:15 | [9 empty] | 2 |  | 100000345177
| FID3083 | Plumbing & Sanitary | Floor trap | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-15 09:17:20 | 2021-10-15 09:50:28 | 2021-10-15 10:59:11 | 2021-10-15 11:00:22 | 2021-10-15 11:02:04 | 2021-10-15 11:06:25 |  |  |  |  | 1
| FID3082 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-15 08:43:43 | 2021-10-15 08:44:06 | 2021-10-15 09:05:52 | 2021-10-15 09:09:02 | 2021-10-15 09:10:36 | 2021-10-15 09:21:14 |  |  |  |  | 2 |  | 100000334104
| FID3079 | Electrical | Exit light | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-14 15:01:05 | 2021-10-14 15:33:00 | 2021-10-14 15:33:29 | 2021-10-14 15:33:48 | 2021-10-14 15:35:08 | 2021-10-14 15:36:19 |  |  |  |  | 2 |  | 100000313051
| FID3077-1 | Building | Wall | Dirty / Odour | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-E |  | 2021-10-14 14:26:16 | [8 empty] | FID3077 | 2 |  | 100000347859
| FID3077 | Building | Wall | Dirty / Odour | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-E |  | 2021-10-14 14:25:11 | [9 empty] | 2 |  | 100000347859
| FID3075-1 | Mechanical | Sump Pump | Leaking / Condensation | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-14 13:57:30 | [8 empty] | FID3075 | 2 |  | 100000345379
| FID3075 | Mechanical | Sump Pump | Leaking / Condensation | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-14 13:54:37 | [9 empty] | 2 |  | 100000345379
| FID3074 | Mechanical | Air Handling Unit | Too hot / Too cold | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-14 13:50:13 | 2021-10-14 13:51:13 | [8 empty] | 2 |  | 100000317629
| FID3072 | Building | Door Closer | Unable to open or close properly | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-B |  | 2021-10-14 11:49:12 | [9 empty] | 2 |  | 100000317038
| FID3071 | Plumbing & Sanitary | Bidet spray / Hose | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-D |  | 2021-10-14 11:47:25 | 2021-10-14 11:47:43 | [8 empty] | 2 |  | 100000323713
| FID3070 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-13 |  | 2021-10-14 11:38:43 | 2021-10-14 11:39:53 | 2021-10-14 15:24:58 | 2021-10-14 15:25:40 | 2021-10-14 15:26:22 | 2021-10-14 15:27:46 |  |  |  |  | 1 |  | 100000324520
| FID3068-1 | Plumbing & Sanitary | Water Pipe | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-14 11:22:08 | [8 empty] | FID3068 | 2 |  | 100000350458
| FID3068 | Plumbing & Sanitary | Water Pipe | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-E |  | 2021-10-14 11:20:52 | 2021-10-14 11:21:10 | [8 empty] | 2 |  | 100000350458
| FID3067 | Electrical | Cable and Trunking | Other: INTERNET CABLE NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-14 11:19:01 | [9 empty] | 2
| FID3066 | Building | Window | Other: WINDOW FRAME RUSTY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-A |  | 2021-10-14 11:16:44 | [9 empty] | 2 |  | 100000317628
| FID3065 | Mechanical | Hot Water Urn | Leaking / Condensation | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-D |  | 2021-10-14 11:14:47 | [9 empty] | 2 |  | 100000323712
| FID3062 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-B |  | 2021-10-14 09:38:16 | 2021-10-14 09:50:10 | 2021-10-14 09:54:40 | 2021-10-14 09:56:24 | 2021-10-14 09:57:41 | 2021-10-14 10:06:13 |  |  |  |  | 2 |  | 100000335698
| FID3059 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-13 16:34:06 | 2021-10-13 16:34:29 | 2021-10-13 16:57:54 | 2021-10-13 16:59:55 | 2021-10-13 17:14:32 | 2021-10-13 17:25:35 |  |  |  |  | 1 |  | 100000334250
| FID3056 | Electrical | Socket Outlet | Other: POWER SOCKET NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-13 15:59:22 | 2021-10-13 15:59:50 | 2021-10-13 16:15:49 | 2021-10-13 16:23:12 | [6 empty] | 2 |  | 100000300510
| FID3051-1 | Building | Partition Wall | Other: PARTITION WALL CORNER GUARD CAME OFF 5B BOLLORE STORE ROOM | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-B |  | 2021-10-13 14:28:54 | 2021-10-13 14:32:11 | [7 empty] | FID3051 | 2 |  | PARTITION WALL CORNER GUARD CAME OFF 5B BOLLORE STORE ROOM
| FID3046-1 | Mechanical | Kitchen Exhaust Hood System | Other: KITCHEN STEAMER NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-13 13:12:54 | 2021-10-21 10:46:28 | 2021-10-21 10:47:01 | 2021-10-21 10:47:29 | 2021-10-21 10:48:29 | 2021-10-26 11:26:26 |  |  |  | FID3046 | 1 |  | 100000338617
| FID3051 | Building | Partition Wall | Other: PARTITION WALL CORNER GUARD CAME OFF 5B BOLLORE STORE ROOM | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-B |  | 2021-10-13 12:58:00 | [9 empty] | 2 |  | PARTITION WALL CORNER GUARD CAME OFF 5B BOLLORE STORE ROOM
| FID3048 | Mechanical | Kitchen Equipment | Other: STEAMER NOT WORKING 10D SKR KITCHEN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D | approved | 2021-10-13 11:04:19 | [9 empty] | 1 |  | STEAMER NOT WORKING 10D SKR KITCHEN
| FID3047 | Plumbing & Sanitary | Water Pipe | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-13 10:59:20 | 2021-10-13 11:13:49 | 2021-10-13 11:13:54 | 2021-10-13 11:14:15 | 2021-10-13 11:21:57 | 2021-10-13 11:27:58 |  |  |  |  | 1 |  | PIPE LEAKING 10D SKR KITCHEN
| FID3046 | Mechanical | Kitchen Exhaust Hood System | Other: KITCHEN STEAMER NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-D |  | 2021-10-13 10:56:19 | [9 empty] | 1 |  | 100000338617
| FID3043 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 6-D |  | 2021-10-13 09:30:35 | 2021-10-13 09:34:20 | 2021-10-13 09:34:40 | 2021-10-13 09:35:01 | 2021-10-13 09:35:28 | 2021-10-13 09:49:23 |  |  |  |  | 1 |  | POWER TRIP 6D SIA CLINIC
| FID3033-1 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-12 17:02:37 | 2021-10-12 17:14:36 | 2021-10-12 17:19:45 | 2021-10-12 17:20:52 | [5 empty] | FID3033 | 2 |  | 100000342585
| FID3040-1 | Building | Condition Assessment | Other: STAIRCASE ANTISLIP ALUMINIUM BROKEN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-12 16:50:36 | [8 empty] | FID3040 | 2 |  | 100000323034
| FID3040 | Building | Condition Assessment | Other: STAIRCASE ANTISLIP ALUMINIUM BROKEN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-12 16:50:13 | [9 empty] | 2 |  | 100000323034
| FID3039 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-12 16:46:09 | 2021-10-12 16:46:37 | [8 empty] | 2
| FID3037 | Mechanical | Wall Fan | Other: REQ TO CHECK CEILING FAN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-12 15:24:49 | [9 empty] | 2 |  | 100000344670
| FID3036 | Mechanical | Cargo or Goods Lift | Other: BREAKDOWN | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-12 15:06:54 | 2021-10-12 17:07:32 | [8 empty] | 1 |  | 100000323033
| FID3033 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-12 14:35:25 | [9 empty] | 2
| FID3032 | Mechanical | Hot Water Urn | Other: NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-A |  | 2021-10-12 14:06:46 | 2021-10-12 14:07:12 | [8 empty] | 2
| FID3028 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-A |  | 2021-10-12 11:29:00 | 2021-10-12 11:32:04 | 2021-10-12 11:37:59 | 2021-10-12 11:38:47 | 2021-10-12 12:54:19 | 2021-10-12 13:24:59 |  |  |  |  | 1 |  | 100000342070
| FID3027 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-12 11:21:51 | [9 empty] | 1 |  | 1000000332994
| FID3025 | Mechanical | Air Conditioning System | Too hot / Too cold | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > SB1 > 3 |  | 2021-10-12 10:51:54 | 2021-10-12 11:02:40 | 2021-10-12 11:03:39 | 2021-10-12 11:12:36 | 2021-10-12 11:16:29 | 2021-10-12 11:59:35 |  |  |  |  | 2 |  | 100000332993
| FID3023 | Building | Door Closer | Other: DOOR SLAMMING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-D |  | 2021-10-12 10:24:02 | 2021-10-12 10:32:51 | [8 empty] | 2 |  | 100000349955
| FID3022 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-C |  | 2021-10-12 10:22:13 | 2021-10-12 10:34:23 | [8 empty] | 2 |  | 100000332992
| FID3019 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-C |  | 2021-10-12 09:34:51 | 2021-10-12 09:35:18 | 2021-10-12 09:39:22 | 2021-10-12 09:53:26 | 2021-10-12 09:53:51 | 2021-10-12 10:05:55 |  |  |  |  | 1 |  | 100000343064
| FID3017-1 | Mechanical | Wall Fan | Other: REQ TO CLEAN FAN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-12 09:32:34 | [8 empty] | FID3017 | 3 |  | 100000346061
| FID3017 | Mechanical | Wall Fan | Other: REQ TO CLEAN FAN | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ISQ > 2 |  | 2021-10-12 09:32:13 | [9 empty] | 3 |  | 100000346061
| FID3014 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-12 09:06:45 | 2021-10-12 10:10:40 | 2021-10-12 10:12:07 | 2021-10-12 10:12:58 | 2021-10-12 10:13:37 | 2021-10-12 10:16:23 |  |  |  |  | 1 |  | 100000319316
| FID3013 | Plumbing & Sanitary | Floor trap | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-12 08:43:54 | 2021-10-12 08:44:52 | 2021-10-12 08:53:22 | 2021-10-12 09:45:01 | 2021-10-12 09:49:44 | 2021-10-12 09:51:09 |  |  |  |  | 1 |  | 100000316748
| FID3006-1 | Building | Ceiling | Other: TO INSTALL NEW CEILING BOARD | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-D |  | 2021-10-11 15:29:14 | [8 empty] | FID3006 | 2 |  | 100000349262
| FID3004-1 | Mechanical | Lift & Escalators | Other: LIFT FULL LOAD TEST | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-11 15:28:38 | [8 empty] | FID3004 | 2 |  | 100000324040
| FID3007-1 | Pest Control | Rats/Rodents Infestation | Other: RAT SPOTTED | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-11 15:27:40 | [8 empty] | FID3007 | 1 |  | 100000337586
| FID3007 | Pest Control | Rats/Rodents Infestation | Other: RAT SPOTTED | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-11 15:27:14 | [9 empty] | 1 |  | 100000337586
| FID3006 | Building | Ceiling | Other: TO INSTALL NEW CEILING BOARD | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-D |  | 2021-10-11 15:25:12 | [9 empty] | 2 |  | 100000349262
| FID3005 | Mechanical | Wall Fan | Other: NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-11 15:23:34 | [9 empty] | 2 |  | 100000324041
| FID3004 | Mechanical | Lift & Escalators | Other: LIFT FULL LOAD TEST | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-11 15:20:11 | [9 empty] | 2 |  | 100000324040
| FID3002-1 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-11 15:18:38 | [8 empty] | FID3002 | 2 |  | 100000341394
| FID3002 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-11 15:18:18 | [9 empty] | 2 |  | 100000341394
| FID3000-1 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-11 15:17:16 | [8 empty] | FID3000 | 2 |  | 100000338616
| FID3000 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-11 15:16:55 | [9 empty] | 2 |  | 100000338616
| FID2998-1 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-11 15:15:41 | [8 empty] | FID2998 | 2 |  | 100000334249
| FID2998 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-11 15:08:12 | [9 empty] | 2 |  | 100000334249
| FID2997 | Building | Door Closer | Other: DOOR SLAMMING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-F |  | 2021-10-11 13:57:09 | [9 empty] | 2 |  | 100000329839
| FID2995-1 | Pest Control | Rats/Rodents Infestation | Other: INSPECTION OF RODENTS GLUEBOARD | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-11 11:41:42 | [8 empty] | FID2995 | 3 |  | 100000345176
| FID2995 | Pest Control | Rats/Rodents Infestation | Other: INSPECTION OF RODENTS GLUEBOARD | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-11 11:41:22 | [9 empty] | 3 |  | 100000345176
| FID2994 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-C |  | 2021-10-11 11:25:10 | [9 empty] | 2 |  | 100000349261
| FID2993 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-A |  | 2021-10-11 10:17:32 | [9 empty] | 2 |  | 100000334102
| FID2992 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-D |  | 2021-10-11 10:15:44 | 2021-10-11 10:16:02 | [8 empty] | 2 |  | 100000334101
| FID2984 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-A |  | 2021-10-09 10:02:31 | 2021-10-09 10:03:11 | 2021-10-09 10:03:28 | 2021-10-09 10:04:09 | 2021-10-09 10:04:34 | 2021-10-10 09:26:09 |  |  |  |  | 2 |  | 1.3357
| FID2979 | Building | Door Closer | Unable to open or close properly | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-B |  | 2021-10-08 15:10:17 | [11 empty] | DOOR CANNT CLOSE 9B TECH SVS
| FID2978 | Plumbing & Sanitary | Urinal | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-C |  | 2021-10-08 14:41:56 | 2021-10-08 14:49:11 | 2021-10-08 14:49:36 | 2021-10-08 14:49:59 | 2021-10-08 14:50:25
| FID2974 | Cleaning | Floor | Other: TEST only | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-A | approved | 2021-10-08 13:40:09 | [9 empty] | 5 |  | NO Ref. (test only)
| FID2972 | Building | Wall | Other: TEST only | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C | approved | 2021-10-08 13:35:34 | [9 empty] | 5 |  | NO Ref. (test only)
| FID2971 | Electrical | Distribution Boards | Other: BURNING SMELL 9C VP QUALITY | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-C |  | 2021-10-08 12:59:36 | 2021-10-08 13:07:59 | 2021-10-08 13:08:29 | 2021-10-08 13:09:07 | 2021-10-08 13:09:32 | 2021-10-08 13:10:24 | [6 empty] | CHECK ONSITE BURNING SMELL CAME FORM USER PORTABLE WATER DISFENSER,TEMPORARILY UNPLUGG AND RESET THE DB-9-2P P7 MCB 10A .
| FID2969 | Building | Door Lock | Other: GATE PAD LOCK NOT WORKING 1C CENTER GATE | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-C |  | 2021-10-08 10:41:46 | 2021-10-08 10:53:04 | 2021-10-08 10:53:31 | 2021-10-08 10:54:33
| FID2968 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-B |  | 2021-10-08 09:25:24 | 2021-10-08 09:37:11 | 2021-10-08 09:37:34 | 2021-10-08 09:38:11 | 2021-10-08 09:38:53 | 2021-10-08 10:07:09
| FID2967 | Mechanical | Air Handling Unit | Other: AIRCON WARM 1B COMPOSITE W/S | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-B |  | 2021-10-08 09:23:33 | 2021-10-08 09:39:41 | 2021-10-08 09:40:03 | 2021-10-08 09:41:26 | 2021-10-08 10:25:56
| FID2966 | Plumbing & Sanitary | Urinal | Water flowing non-stop | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-B |  | 2021-10-08 09:18:01 | 2021-10-08 10:45:25 | 2021-10-08 10:45:47 | 2021-10-08 10:46:12 | 2021-10-08 10:47:53 | 2021-10-08 10:50:03
| FID2965 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-07 17:38:19 | 2021-10-30 11:19:20 | 2021-10-30 11:19:45 | 2021-10-30 11:20:16 | 2021-10-30 11:20:39 | 2021-10-30 11:21:09 |  |  |  |  | 1 |  | 100000339422
| FID2964 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > Hangar 1 > Bay-11 |  | 2021-10-07 14:40:30 | 2021-10-07 14:51:46 | 2021-10-07 15:10:24 | 2021-10-07 15:10:48 | 2021-10-07 15:11:26 | 2021-10-07 15:24:01 |  |  |  |  | 1 |  | 100000318117
| FID2963 | Electrical | Distribution Boards | Tripped / Short-Circuit / Overloaded | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-D |  | 2021-10-07 14:38:12 | 2021-10-07 14:50:01 | 2021-10-07 14:51:13 | 2021-10-07 15:03:08 | 2021-10-07 15:03:43 | 2021-10-07 15:09:42 |  |  |  |  | 1 |  | 100000340287
| FID2962 | Building | Ceiling | Other: LEAKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-C |  | 2021-10-07 12:53:56 | 2021-10-07 13:12:41 | 2021-10-07 13:15:57 | 2021-10-07 13:53:35 | 2021-10-07 13:53:55 | 2021-10-30 11:18:11 |  |  |  |  | 2 |  | 100000343063
| FID2961 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-A |  | 2021-10-07 11:01:30 | 2021-10-07 11:26:32 | 2021-10-07 11:27:36 | 2021-10-07 11:27:54 | 2021-10-07 11:28:19 | 2021-10-07 11:34:22 |  |  |  |  | 2 |  | 100000313440
| FID2959 | Plumbing & Sanitary | Tap | Water flowing non-stop | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 5-D |  | 2021-10-07 09:21:59 | 2021-10-07 09:37:46 | 2021-10-07 09:40:14 | 2021-10-07 09:40:45 | 2021-10-07 09:41:07 | 2021-10-07 10:21:02 |  |  |  |  | 2 |  | 100000318896
| FID2957 | Plumbing & Sanitary | Shower Fittings | Leaking | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-A |  | 2021-10-07 09:06:45 | 2021-10-07 13:45:45 | 2021-10-07 13:46:19 | 2021-10-07 13:46:39 | 2021-10-07 13:51:31 | 2021-10-07 13:52:18 |  |  |  |  | 2 |  | 100000318895
| FID2956 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-A |  | 2021-10-07 09:05:15 | 2021-10-07 13:39:45 | 2021-10-07 13:41:18 | 2021-10-07 13:41:40 | 2021-10-07 13:42:39 | 2021-10-07 13:44:15 |  |  |  |  | 1 |  | 100000314316
| FID2955 | Mechanical | Air Handling Unit | System Shows fault / Error code | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 7-C |  | 2021-10-07 09:02:50 | 2021-10-30 11:13:43 | 2021-10-30 11:14:06 | 2021-10-30 11:14:33 | 2021-10-30 11:15:01 | 2021-10-30 11:15:38 |  |  |  |  | 1 |  | 100000297042
| FID2939 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-04 14:54:46 | 2021-10-04 15:52:30 | 2021-10-04 16:01:09 | 2021-10-04 16:03:24 | 2021-10-04 16:04:32 | 2021-10-04 16:05:34 |  |  |  |  | 2 |  | 100000339092
| FID2938 | Electrical | Exit light | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 3-F |  | 2021-10-04 14:53:14 | 2021-10-04 16:10:28 | 2021-10-04 16:12:02 | 2021-10-04 16:13:57 | 2021-10-04 16:15:05 | 2021-10-04 16:16:02 |  |  |  |  | 1 |  | 100000335209
| FID2936-1 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-A |  | 2021-10-04 14:47:44 | 2021-10-04 16:35:24 | 2021-10-04 16:35:50 | 2021-10-04 16:37:47 | 2021-10-04 16:38:49 | 2021-10-04 16:39:55 |  |  |  | FID2936 | 2 |  | 100000335208
| FID2936 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-A |  | 2021-10-04 14:46:25 | 2021-10-07 00:59:00 | 2021-10-07 00:59:53 | 2021-10-07 01:01:21 | 2021-10-07 01:07:49 | 2021-10-07 01:11:31 |  |  |  |  | 2 |  | 100000335208
| FID2935 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 2-A |  | 2021-10-04 14:39:53 | 2021-10-07 01:22:54 | 2021-10-30 11:11:34 | 2021-10-30 11:11:50 | 2021-10-30 11:12:06 | 2021-10-30 11:12:24 |  |  |  |  | 2 |  | 100000335208
| FID2932 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 9-D |  | 2021-10-04 14:01:59 | 2021-10-04 14:13:28 | 2021-10-04 14:13:52 | 2021-10-04 14:16:51 | 2021-10-04 14:17:48 | 2021-10-04 14:20:54 |  |  |  |  | 2 |  | 100000348458
| FID2929 | Plumbing & Sanitary | Urinal | Choked | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 4-F |  | 2021-10-04 13:29:57 | 2021-10-04 13:39:42 | 2021-10-04 13:41:36 | 2021-10-04 14:25:33 | 2021-10-04 14:27:16 | 2021-10-04 14:28:37 |  |  |  |  | 1 |  | 100000321643
| FID2928 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 10-A |  | 2021-10-04 13:15:32 | 2021-10-04 13:31:41 | 2021-10-04 13:32:20 | 2021-10-04 13:33:56 | 2021-10-04 13:34:34 | 2021-10-04 13:35:05 |  |  |  |  | 2 |  | 100000347662
| FID2923-1 | Plumbing & Sanitary | WC / Squatting Pedestal | Other: W/C FLUSHING WATER DIRTY | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-D |  | 2021-10-04 11:32:55 | 2021-10-30 11:08:24 | 2021-10-30 11:08:52 | 2021-10-30 11:09:17 | 2021-10-30 11:09:38 | 2021-10-30 11:10:08 |  |  |  | FID2923 | 1 |  | 100000341281
| FID2926 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-C |  | 2021-10-04 10:40:03 | 2021-10-04 10:40:33 | 2021-10-04 10:52:26 | 2021-10-04 10:57:11 | 2021-10-04 11:07:43 | 2021-10-04 11:09:01 |  |  |  |  | 2 |  | 100000340286
| FID2925 | Mechanical | Hot Water Urn | Other: NOT WORKING | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 1-A |  | 2021-10-04 09:34:37 | 2021-10-04 11:34:08 | 2021-10-04 11:34:38 | 2021-10-04 11:35:33 | 2021-10-04 11:36:10 | 2021-10-04 11:37:42 |  |  |  |  | 2 |  | 100000345570
| FID2924 | Electrical | Light Fitting | Flickering / Blown | Localised to room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > B-D |  | 2021-10-04 09:32:48 | 2021-10-04 11:08:22 | 2021-10-04 11:13:07 | 2021-10-04 11:17:54 | 2021-10-04 11:24:05 | 2021-10-04 11:24:34 |  |  |  |  | 2 |  | 100000342584
| FID2923 | Plumbing & Sanitary | WC / Squatting Pedestal | Other: W/C FLUSHING WATER DIRTY | More than 1 room | SIA-ALH/H1/ISQ/SB1/SB2/SB3 > ALH > 8-D |  | 2021-10-04 09:14:55 | 2021-10-04 11:18:55 | 2021-10-04 11:20:21 | 2021-10-04 11:30:54 | 2021-10-04 11:31:31 | 2021-10-30 10:34:00 |  |  |  |  | 1 |  | 100000341281